# Annexure - B

PROJECT REPORT FORMAT

# Format for Summary Project Report for Grid Connected Rooftop:

- Name of Bidder	: M/s BRIHASPATHI TECHNOLOGIES LIMITED

- RfS No.	: NP-APEPD24-002209805

- Project details (Site location&Address)	: Dwaraka Tirumala

- Name of the beneficiary	: Immadi Srinivasarao

- Size of Plant(in KW)	: 5kw

- Specifications of the Components and Bill of Material/ Quantities:

| S. No. | Component | Specifications Quantity | Make |
| --- | --- | --- | --- |
| A | Solar PV module |  |  |
| A.1 | Aggregate Solar PV capacity (kWp) | 5.35 Kwp | TATA |
| B | Grid Tie inverter (Type and Capacity) | 5 Kw-1Phase | GOODWE |
| B.1 | Aggregate Inverter capacity (kVA) | 5Kw | GOODWE |
| C | Module mounting structure | Galvanizing Structure |  |
| D | Array Junction Box | Fuses with spd’s | Elmex |
| E | AC Distribution Board | MCCB | Snyder |
| F | Cable (All type) | DC: 6 Sqmm AC:4C X 10Sqmm | PolyCab |
| G | Earthing Cable/ Strip | Cable 6Sq. mm |  |
| H | Lightening Arrestor | Globe Type |  |
| I | Earthing Pits (No.) | LA:1 No.s DC: 1 No.s AC: 1 No.s |  |
| J | Online monitoring system | YES |  |
| K | Any other component | NA |  |

- Expected Output/annum

- Respective drawings for module layout, electrical wiring connections, earthing, components etc.

- Connectivity details with grid and metering arrangement (with sketch diagram)

- Copy of electricity bill of the beneficiary and consumer number

- Documentary Proof regarding beneficiary type

- Any other information