# Grounding Certificate for Releasing of Solar  Roof Top	Date: 27.05.2025

| A | Name of the applicant | Immadi Srinivasarao |
| --- | --- | --- |
| 1 | S/C No | 1514196002000742 |
| 2 | Category, Sub category &Phase | LT-1, 3-Phase |
| 3 | Pole number |  |
| 4 | Distribution | Drawaka Tirumala |
| 5 | Section | Drawaka Tirumala |
| 6 | Address/District/Pincode | 534426 |
|  | Latitude ( ex 17’ 488’’) | 16.953656 |
|  | Longitude ( ex 83’ 245’’) | 81.255313 |
| 7 | Mobile No/ e mail | 7995193613 |
| 8 | Developer Agency | BRIHASPATHI TECHNOLOGIES LTD |
| B | Meter Details |  |
| 1 | Meter make |  |
| 2 | Serial number |  |
| 3 | Capacity |  |
| 4 | Meter constant |  |
| 5 | Initial reading (Trivector parameters) |  |
| 6 | i) Import |  |
| 7 | ii)Export |  |
| 8 | Name of the laboratory where the meter is tested( copy of test results to be enclosed) |  |
| C | Grid TieInverter / Connecter |  |
| 1 | Make | GOODWE |
| 2 | Serial number | 55000DSC251S1152 |
| 3 | Capacity in KW | 5KW |
| 4 | Input voltage | 600V |
| 5 | Output voltage | 220/230/249 Vac |
| 6 | If grid supply fails, status of contactor ( on or off) | yes |
| D | SPV Module |  |
| 1 | Make | Tata Power Solar Systems Limited |
| 2 | Serial number | A8ED01A, A8ED0A2, A8ED0AA, A8ED0BA, A8ED0C0, A8ED0D0, A8ED0E0, A8ED0E5, A8ED0E6, A8ED0E7 |
| 3 | Type of module | Mono Crystalline |
| 4 | Capacity of each module | 535Wp |
| 5 | Number of modules | 10 |
| 6 | Total capacity of module | 5350 Watts |
| E | Details of protective system available (feasibility shall be given only on availability of the above) | YES |

Encl:- 1) Photograph of SPV generator

2) Specification sheets of all equipments

Consumer	Empanelled   Installer	Dy. Executive Engineer Operation,